


Regular Meeting			July 14, 2026				7:00 AM				

Members present: Larry Skiftun, Tom Deede, Bryon Brynjulson, Devin Long and Chad Reimche.

Kale Van Bruggen Rinke-Noonan and Jennifer Malloy, Apex Engineering, were in attendance via video conference.  

Visitors: Gary Heintz

The Wells County Water Resource District Board meeting began at 7:00 AM.  

Minutes of the June 9, 2026 meeting were reviewed.  Devin made the motion, seconded by Bryon to approve the June 9, 2026 minutes.   All voting aye, motion carried

Hurdsfield Project
· The pumps are currently off.
· Discussion was held regarding diking around the wet well to prevent it from going under water.
· Larry will check on concrete barrier blocks to use for dike material. 
· Bryon made the motion, seconded by Tom to have Jennifer check with DWR if the WRD will need a permit to dike around the wet well if needed.  All voting aye, motion carried.
· Bryon will continue to monitor the area watching for water rising. 

Unauthorized Dam Complaint-Thompson v Roller
· The Roller Dike has been breached by Faul Construction on June 27th
· Based on the report of Chair Skiftun and photographs of the affected site, the Board finds that the current owners of the Roller Property have substantially complied with the Board’s Order dated November 18, 2025; that no further enforcement action is necessary at this time; and that the complaint proceedings be closed.
Clean out in SW4 29-148-70 (Drain #1)
· Larry and Jennifer will be meeting with U.S. Fish and Wildlife regarding cattail spraying for Drain #1 near the Schindler WPA and to discuss long-term options to complete, improve, or extend the assessment drain to connect upstream and downstream flow and to provide the WRD with alternatives and cost estimates.
· Apex Engineering will be sending out a survey crew soon. 

Elevation of Culverts 7/8-148-69
· Jennifer presented a plan to the WRD to mitigate the lack of drainage in this area.  
· To achieve positive drainage north of the intersection of ND30/49th Ave NE, 2 approach culverts will need to be lowered approximately a foot on 49th Ave NE. 
· Approximately 460 linear feet of ND 30/15 would be regraded to a slope of 0.04%. One of the approach culverts are loc match the new invert elevations. 
· The WRD is waiting on a call/decision from the ND DOT.




Tile Permit 2025-0001
· Kale has sent a letter to the Tile System 2025-0001 permittees and contractor requesting verification of the outlet location, discharge point, erosion-control measures, and any infrastructure located on or discharging to U.S. Fish and Wildlife Service property; to request as-built information and any road authority or U.S. F&WS authorizations from the permittees and contractor.  
· The tile applicants are working with the contractor and US F &WS on a solution.

Legislative Updates
· Kale reported on legislative topics that will be discussed at the next WRD Association meeting in Watford City.


Upper Sheyenne Joint WRD Request
· The board received a letter requesting the WCWRD joint he Upper Sheyenne WRD.
· Larry met with the Wells County Commission and discussed the WCWRD joining the Upper Sheyenne WRD.  There was no motion made for the WCWRD to join the Upper Sheyenne WRD. 

Hamburg/West Norway Drain Clean out
· A request was made to Larry about a potential clean out needed in the NE 2 of 23-149-70
· Larry will visit the area to determine if the clean out is needed. 
· Bryon made the motion, seconded by Chad to clean out this area if necessary.  All voting aye, motion carried. 

Tile Notifications
· The board reviewed Tile Notifications for:
· SE 21-145-71 (72 acres)
· NW 2-145-71 (mains only at this time) 

Spraying Drains
· [bookmark: _Hlk235002947]The board met with Patrick and Taryn Doan-Local Ag Solutions regarding spraying the assessed-legal drains. 
· Devin made the motion, seconded by Bryon to hire Local Ag Solutions to spray the assessed-legal drains.  All voting aye, motion carried. 


The board reviewed the bill from Apex Engineering.  Tom made the motion, seconded by Devin to pay this bill.  All voting aye, motion carried.

[bookmark: _Hlk216100407]The board reviewed the bill from Rinke-Noonan.  Bryon made the motion, seconded by Chad to pay this bill.  All voting aye, motion carried.

The board reviewed the bill from In-Situ.  Devin made the motion, seconded by Chad to pay this bill.  All voting aye, motion carried.

The following bills were allowed and ordered paid:
#7104 Larry Skiftun-per diem, mlge & exp			$1445.15		  		
#7105 Tom Deede-per diem, mlge & exp			    197.75		    	
#7106 Bryon Brynjulson -per diem, mlge & exp		    441.90		  		   
#7107 Devin Long- per diem, mlge & exp			  
#7108 Chad Reimche-per diem, mlge & exp			   205.00
#7109 Tammy Roehrich-Salary			             1679.70
#7110 Patrick Doan-Salary-Gateman				     93.88
#7111 Apex Engineering-Engineering Services		   768.00
#7112 Rinke-Noonan- Legal Fees				 3190.50

Drain Fund	
#1054 Apex Engineering-Engineering Services		   1785.50
#1055 Rinke-Noonan-Legal Fees     				     1630.50
#1056 In-Situ-Hurdsfield-Monitoring-6 mth prepay	                 132.00    
#1057 Northern Plains Electric-Hurdsfield Power		     133.00



		     
With no further business, meeting adjourned.



Approved:					Attest: 






